## SOL•THOR
Input fields | v241016 | PV array dimensioning for SOL•THOR
Panel characteristics (STC)
| [Wp] | Pmpp / nominal power
| [A] | Impp / nominal current
| [V] | Voc / open circuit voltage
| [V] | Vmpp / nominal voltage
Temp. coefficient of Voc (negative value)
1
Array characteristics
| [pcs] | Number of panels in series
| [pcs] | Number of strings parallel
| [°C] | lowest panel temperature during the year
| [°C] | highest panel temperature during the year
Results
Results for STC (standard test conditions)
0 | [Wp] | installed nominal power
OK
0 | [A] | total current at STC (standard test conditions)
OK
0 | [V] | total open circuit voltage at STC (standard test conditions)
ATTENTION: outside voltage range
0 | [V] | total mpp voltage at STC (standard test conditions)
ATTENTION: outside voltage range
Results for lowest panel temperature during the year
0 | [V] | total open circuit voltage at lowest ambient temperature during the year
ATTENTION: outside voltage range
Results for highest panel temperature during the year
0 | [V] | total mpp voltage at highest panel temperature during the year
ATTENTION: outside voltage range
Explanation
Dies ist nur ein Hinweis. Konfiguration OK. This is only a hint. Configuration OK.
Dies ist eine Warnung. Konfiguration nicht OK. This is a warning. Configuration not OK.
V/°C
%/°C